Use This Checklist As A Guide:

# Location

Inspection Item	        	      	      Description of Defects		                North  South  East    West

Masonry Units Deteriorated

Mortar Deteriorated

Extensive Loss of Bond

Between Units & Mortar

Exposed Lintels Deteriorated

Masonry Cracked

Exterior Masonry Moving Away

From Structure

Misalignment of Masonry At

Control Joints or Corners

Bulging of Masonry Between

Control Joints or Other

Sealant Failure in Control

Joints or At Masonry Openings

Foundation Corners Spalled

Signs of Water Penetration

Signs of Efflorescence

Paint or Coatings Deteriorated

Chimney Damage

Staining or Discoloration

Notes: